## Summary
OSCE DOE ERA Financial Summary - Tasks 1-3
| Site | Building Description | Electric bills in hand | Estimated Solar (kW) | Inverter Size (kW) | BESS (kWh) | Project Cost | Contingency (10%) | Total | Grant (80%) | Project Cost Share (20%) | Individual Town % of Total | Additional PM Cost Share | Cost After Additional Incentives | Adjusted Cost Share % | Focus on Energy | Direct Pay | Utility | Notes
1 | Town of Washburn | Garage and Town Hall | No, just total | 12 | 15 | 61 | 108625 | 10862.5 | 119487.5 | 95590 | 23897.5 | 7.783% | 982.9163 | 13728.25 | 11.49% | 0 | -7169.25 | BEC | Site has only one meter, Have bids for solar.
2 | Town of Clover | Garage and Town Hall | Yes | 16 | 15 | 61 | 142725 | 14272.5 | 156997.5 | 125598 | 31399.5 | 10.23% | 1291.4774 | 15479.65 | 9.86% | -2500 | -9419.85 | Xcel | Two meters, met on June 14
5 | Town of Grandview (2) | Garage, Community Bldg, Firehall, WWTP | Yes | 43.6669 | 15 x 3 | 122 | 286025.6154 | 28602.5615 | 314628.1769 | 251702.5415 | 62925.6354 | 20.49% | 2588.1634 | 29731.214 | 9.45% | -3400 | -18877.6906 | Xcel/BEC | Will not be offsetting off-peak heat meter at MG #1
6 | Town of Kelly | Garage and Town Hall | Yes | 15.3 | 15 | 61 | 122045 | 12204.5 | 134249.5 | 107399.6 | 26849.9 | 8.744% | 1104.35 | 14969.93 | 11.15% | 0 | -8054.97 | BEC | Will not be offsetting heat meter. Met on June 12
3 | Town of Drummond (3) | Garage and Town Hall | Yes | 22.2092 | 15 x 3 | 183 | 238327.1538 | 23832.7154 | 262159.8692 | 209727.8954 | 52431.9738 | 17.08% | 2156.5537 | 27873.9202 | 10.63% | -3276.1538 | -15729.5922 | Xcel | Sum of 3 microgrids and three buildings, met on June 13
4 | Village of Mason (2) | Garage, Town Hall and lift station | Yes | 34 | 30/60 | 122 | 414345 | 41434.5 | 455779.5 | 364623.6 | 91155.9 | 29.69% | 3749.2885 | 50559.13 | 11.09% | -4750 | -27346.77 | Xcel | Sum of 2 microgrids
7 | Drummond Sanitary District | Well #1 | Yes | 6 | 15 x 2 | 61 | 83650 | 8365 | 92015 | 73612 | 18403 | 5.993% | 756.9247 | 10734 | 11.67% | -1150 | -5019 | Xcel | Demand 20kW with low kWh usage
| Total |  |  | 143.1762 |  | 610 | 1395742.7692 | 139574.2769 | 1535317.0462 | 1228253.6369 | 307063.4092 | 100% | 12629.6741 | 163076.0942 | 10.76% | -13926.1538 | -86598.1228
1 | Note Town of Port Wing - Separate project | WWTP - 480v | Yes | 47.3 | 60 | 61 | 269070 | 26907 | 295977 | 236781.6 | 59195.4 | [6 empty] | Xcel
2 |  | Town Hall | Yes | 12.6 | 15 | 61 | 83900 | 8390 | 92290 | 73832 | 18458 | [6 empty] | Xcel
3 |  | Garage | Yes | 6.1 | 15 | 61 | 162650 | 16265 | 178915 | 143132 | 35783 | [6 empty] | Xcel
4 |  | Well | Yes | 34.4 | 30 | 61 | 157200 | 15720 | 172920 | 138336 | 34584 | [6 empty] | Xcel
5 |  | Fire Hall | Yes | 7.8 | 15 | 61 | 70400 | 7040 | 77440 | 61952 | 15488 | [6 empty] | Xcel
| Total |  |  | 108.2 |  | 305 | 743220 | 74322 | 817542 | 654033.6 | 163508.4 |  |  |  |  | -19247.5 | -49052.52
Bayfield County 5 Garages
1 | Cable |  | Yes | 28 | 30 x 2 | 102 | 286820 | 28682 | 315502 | 252401.6 | 63100.4 | [6 empty] | Xcel
2 | Iron River |  | Yes | 28 | 30 x 2 | 102 | 286820 | 28682 | 315502 | 252401.6 | 63100.4 | [6 empty] | Dahlberg
3 | Mason |  | Yes | 28 | 30 x 2 | 102 | 201820 | 20182 | 222002 | 177601.6 | 44400.4 | [6 empty] | Xcel
4 | Port Wing |  | Yes | 28 | 30 x 2 | 102 | 201820 | 20182 | 222002 | 177601.6 | 44400.4 | [6 empty] | Xcel
5 | Russell |  | Yes | 28 | 30 x 2 | 102 | 201820 | 20182 | 222002 | 177601.6 | 44400.4 | [6 empty] | BEC
| Total |  |  | 140 |  | 510 | 1179100 | 117910 | 1297010 | 1037608 | 259402 |  |  |  |  | -18000 | -70746
Red Cliff
1 | Health Clinic |  |  | 300 | 250 | 500 | 1116990 | 111699 | 1228689 | 982951.2 | 245737.8 | [6 empty] | BEC
2 | Transportation |  |  | 150 | 125 | 250 | 633425 | 63342.5 | 696767.5 | 557414 | 139353.5 | [6 empty] | BEC
| Legal | [5 empty] | 35324 | 3532.4 | 38856.4
| Total |  |  | 450 |  | 750 | 1785739 | 178573.9 | 1964312.9 | 1571450.32 | 392862.58 | [5 empty] | -183004
| Bayfield County CNG | [5 empty] | 2960000 | 296000 | 3256000 | 2604800 | 651200 | [5 empty] | -150000
| Total Tasks 1-3 |  |  | 841.3762 |  | 2175 | 8063801.7692 | 806380.1769 | 8870181.9462 | [6 empty] | -51173.6538 | -539400.6428
| Description | Summary | % of Areas 1-5 | PM Cost Share Added
| Towns Total | 1535317.0462 | 13.96% | 12629.6741
| Port Wing Total | 817542 | 7.431% | 6725.1836
| Bayfield County Areas 1-3 | 4553010 | 41.39% | 36419
| Red Cliff Areas 1-3 | 1964312.9 | 17.85% | 16158.6376
| Bayfield County Area 4 | 1044442 | 9.494% | 8591.6861
| Red Cliff Area 4 | 735272 | 6.683% | 6048.4222
| Area 5: Community Engagement | 351670 | 3.197% | 2892.8732
| Total Areas 1-5 | 11001565.9462 | 100% | 89465.4768
| Bayfield County Areas 1-4 | 5597452 |  | 45010.6861
| Red Cliff Areas 1-4 | 2699584.9 |  | 22207.0599
Match OSCE -DOE ERA Budget
Balance

## Red Cliff
Red Cliff DOE ERA Microgrid Preliminary Proposal
Microgrid | Site | Address | Utility | Existing Meters | Tariff | Annual kWh Used | Existing Service | Solar kW | Increase Solar for EV (kW) | BESS kW | BESS kWh
1 | Health Clinic | [6 empty] | 300 | 300 | 250 | 500
2 | Transportation | [6 empty] | 150 | 150 | 125 | 250
[8 empty] | 0 | 0
| Total | [7 empty] | 450 |  | 750
|  | Microgrid 1 | Microgrid 2 | Sum
| Electrical Sysyem Upgrade |  |  | 0 |  | Project Total |  | 1750415
| Inverter + BESS | 569365 | 330000 | 899365 |  | DOE Grant 80% |  | -1400332
| BESS Install | 40000 | 30000 | 70000 |  | Req'd 20% Match |  | 350083
| Solar W/O Inv | 375000 | 187500 | 562500 |  | Focus on Energy |  | -3276.1538
| EVSE | 8225 | 8225 | 16450 |  | Direct Pay |  | -105024.9
| EVSE Install | 7000 | 7000 | 14000 |  | BC CCOR |  | -5552.3077
| Inspection | 1000 | 1000 | 2000 |  | Cash after incentives $ |  | 236229.6385
| Engineering (muGrid) | 25000 | 25000 | 50000 |  | Reduced Cost Share % |  | 13.5%
| Redcloud setup + 3yr (muGrid) | 13000 | 13000 | 26000 |  | Annual "Income"
| Project Management (muGrid) | 78400 | 31700 | 110100 |  | Simple Payback in years |  | #DIV/0!
| Total | 1116990 | 633425 | 1750415
| OSCE | 1116990
| delta | 0

## County Garages
Bayfield County Garages DOE ERA 5 Microgrid Preliminary Proposal
Site | Address | Tariff | Solar kW | SolarArk kW | BESS kWh | Inverter + BESS | BESS Install | Solar W/O Inv | EVSE | EVSE Install | Inspection | Engineering | Project Management (muGrid) | Redcloud setup + 3yr (muGrid) | F150 Ford Lightning | Total
Cable |  |  | 28 | 60 | 102 | 70420 | 10000 | 70000 | 4000 | 4000 | 2000 | 3000 | 27400 | 11000 | 85000 | 286820
Iron River |  |  | 28 | 60 | 102 | 70420 | 10000 | 70000 | 4000 | 4000 | 2000 | 3000 | 27400 | 11000 | 85000 | 286820
Mason |  |  | 28 | 60 | 102 | 70420 | 10000 | 70000 | 4000 | 4000 | 2000 | 3000 | 27400 | 11000 |  | 201820
Port Wing |  |  | 28 | 60 | 102 | 70420 | 10000 | 70000 | 4000 | 4000 | 2000 | 3000 | 27400 | 11000 |  | 201820
Russell |  |  | 28 | 60 | 102 | 70420 | 10000 | 70000 | 4000 | 4000 | 2000 | 3000 | 27400 | 11000 |  | 201820
|  | Sum | 140 |  | 510 | 352100 |  | 350000 | 20000 | 20000 |  | 15000 | 137000 | 55000 | 1179100
[13 empty] | DOE Grant 80% |  | -943280
[13 empty] | Req'd 20% Match |  | 235820
[13 empty] | Focus on Energy |  | -18000
[13 empty] | Direct Pay |  | -70746
[13 empty] | BC CCOR |  | -35000
[13 empty] | Bayfield County Upfront $ |  | 112074
[13 empty] | Bayfield County Upfront % |  | 9.505%
[13 empty] | Annual "Income" |  | 64600 | From EIGP Economic Analysis Spreadsheet
Note of RedCloud - $22K already in budget from original EIGP plus $55K additional here. | [12 empty] | Payback in years |  | 1.7349

## Drummond Sanitary District
Drummond Sanitary District DOE ERA Microgrid Preliminary Proposal
Site | Address | Utility | Existing Meters | Annual kWh Used | Tariff | Existing Service | Solar kW | Increase Solar for EV (kW) | SolarArk kW | BESS kWh | Monthly Demand (kW)
Well #1 | 52555 Front Ave, Drummond | Xcel | 1 | 7768 | Mun Water Pump (Mp-1) | 200amp | 6 | 6 | 15 x 2 | 61 | 20
Sum
| Electric System Upgrade | 3000 |  | Project Total |  |  | 92015
| Inverter + BESS | 39600 |  | DOE Grant 80% |  |  | -73612
| BESS Install | 10000 |  | Req'd 20% Match |  |  | 18403
| Solar W/O Inverter | 14400 |  | Focus on Energy |  |  | -1150
| EVSE | 0 |  | Direct Pay |  |  | -5019
| EVSE Install | 0 |  | BC CCOR |  |  | -1500
| Inspection | 2000 |  | Cash after incentives $ |  |  | 10734
| eGauge | 2000 |  | Reduced Cost Share % |  |  | 11.67%
| Contractor Engineering | 2000 |  | Annual "Income" |  |  | 953
| Project Management (muGrid) | 10650 |  | Simple Payback in years |  |  | 11.2634
| Subtotal | 83650
| Contingency | 8365
| Total | 92015

## DSD Cashflow
| System Size (KW DC) | 6 | Prod/kW/yr | 1300 | Annual Prod. | 7800 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 83650 | Electric Rate | 0.135 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 66920
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 16730
[10 empty] | Direct Pay |  | 5019
[10 empty] | BC CCOR |  | 1500
[10 empty] | Focus on Energy |  | 1150
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 7800 | 7761 | 7722.195 | 7683.584 | 7645.1661 | 7606.9403 | 7568.9056 | 7531.061 | 7493.4057 | 7455.9387 | 7418.659 | 7381.5657 | 7344.6579 | 7307.9346 | 7271.3949 | 7235.038 | 7198.8628 | 7162.8685 | 7127.0541 | 7091.4188 | 7055.9617 | 7020.6819 | 6985.5785 | 6950.6506 | 6915.8974 | 183736.421
Electric Rate |  | 0.135 | 0.13905 | 0.14322 | 0.14752 | 0.15194 | 0.1565 | 0.1612 | 0.16603 | 0.17101 | 0.17614 | 0.18143 | 0.18687 | 0.19248 | 0.19825 | 0.2042 | 0.21033 | 0.21664 | 0.22313 | 0.22983 | 0.23672 | 0.24383 | 0.25114 | 0.25867 | 0.26643 | 0.27443
Production ($) |  | 1053 | 1079.1671 | 1105.9844 | 1133.4681 | 1161.6347 | 1190.5014 | 1220.0853 | 1250.4044 | 1281.477 | 1313.3217 | 1345.9577 | 1379.4048 | 1413.683 | 1448.813 | 1484.816 | 1521.7137 | 1559.5283 | 1598.2826 | 1637.9999 | 1678.7042 | 1720.42 | 1763.1724 | 1806.9873 | 1851.8909 | 1897.9104
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -83650
Grants | 74589
Net Cost | -9061
Loan | 0
Utility Savings |  | 1053 | 1079.1671 | 1105.9844 | 1133.4681 | 1161.6347 | 1190.5014 | 1220.0853 | 1250.4044 | 1281.477 | 1313.3217 | 1345.9577 | 1379.4048 | 1413.683 | 1448.813 | 1484.816 | 1521.7137 | 1559.5283 | 1598.2826 | 1637.9999 | 1678.7042 | 1720.42 | 1763.1724 | 1806.9873 | 1851.8909 | 1897.9104 | 35898.3283
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -9061 | 953 | 976.1671 | 999.8944 | 1024.1954 | 1049.0839 | 1074.574 | 1100.6801 | 1127.4171 | 1154.8 | 1182.8444 | 1211.5661 | 1240.9814 | 1271.1069 | 1301.9597 | 1333.5571 | 1365.917 | 1399.0577 | 1432.9978 | 1467.7566 | 1503.3536 | 1539.8089 | 1577.143 | 1615.3769 | 1654.5322 | 1694.631 | 32252.4018
Cumulative Cash Flow | -9061 | -8108 | -7131.8329 | -6131.9386 | -5107.7432 | -4058.6594 | -2984.0854 | -1883.4053 | -755.9883 | 398.8117 | 1581.6561 | 2793.2222 | 4034.2036 | 5305.3105 | 6607.2702 | 7940.8273 | 9306.7442 | 10705.8019 | 12138.7997 | 13606.5563 | 15109.9099 | 16649.7187 | 18226.8617 | 19842.2386 | 21496.7709 | 23191.4018
IRR |  | 25: 11.76%
NPV |  | 25: 12226.9647
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## DSD Site Map
Drummond Sanitary District DOE ERA Microgrid Site Map

## Town of Washburn
Town of Washburn DOE ERA Microgrid Preliminary Proposal
Site | Address | Utility | Existing Meters | Annual kWh Used | Existing Service | Solar kW | Increase Solar for EV (kW) | SolarArk kW | BESS kWh
Garage/Town Hall | 30015 County Hwy C Washburn | BEC | 1 | 12187 | 200amp | 9 | 12 | 15 | 61
Sum
| Electric System Upgrade | 3000 |  | Project Total |  | 119487.5
| Inverter + BESS | 32400 |  | DOE Grant 80% |  | -95590
| BESS Install | 10000 |  | Req'd 20% Match |  | 23897.5
| Solar W/O Inverter | 28800 |  | Focus on Energy |  | 0
| EVSE | 8225 |  | Direct Pay |  | -7169.25
| EVSE Install | 5000 |  | BC CCOR |  | -3000
| Inspection | 2000 |  | Cash after incentives $ |  | 13728.25
| eGauge | 2000 |  | Reduced Cost Share % |  | 11.49%
| Contractor Engineering | 2000 |  | Annual "Income" |  | 1928
| Project Management (muGrid) | 15200 |  | Simple Payback in years |  | 7.1205
| Subtotal | 108625
| Contingency (10%) | 10862.5
| Total | 119487.5

## ToW Cashflow
| System Size (KW DC) | 12 | Prod/kW/yr | 1300 | Annual Prod. | 15600 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 119487.5 | Electric Rate | 0.13 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 95590
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 23897.5
[10 empty] | Direct Pay |  | 7169.25
[10 empty] | BC CCOR |  | 3000
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 15600 | 15522 | 15444.39 | 15367.1681 | 15290.3322 | 15213.8805 | 15137.8111 | 15062.1221 | 14986.8115 | 14911.8774 | 14837.318 | 14763.1314 | 14689.3158 | 14615.8692 | 14542.7899 | 14470.0759 | 14397.7255 | 14325.7369 | 14254.1082 | 14182.8377 | 14111.9235 | 14041.3639 | 13971.1571 | 13901.3013 | 13831.7948 | 367472.842
Electric Rate |  | 0.13 | 0.1339 | 0.13792 | 0.14205 | 0.14632 | 0.15071 | 0.15523 | 0.15988 | 0.16468 | 0.16962 | 0.17471 | 0.17995 | 0.18535 | 0.19091 | 0.19664 | 0.20254 | 0.20861 | 0.21487 | 0.22132 | 0.22796 | 0.23479 | 0.24184 | 0.24909 | 0.25657 | 0.26426
Production ($) |  | 2028 | 2078.3958 | 2130.0439 | 2182.9755 | 2237.2225 | 2292.8174 | 2349.794 | 2408.1863 | 2468.0298 | 2529.3603 | 2592.2149 | 2656.6315 | 2722.6487 | 2790.3066 | 2859.6457 | 2930.7079 | 3003.536 | 3078.1738 | 3154.6665 | 3233.0599 | 3313.4015 | 3395.7395 | 3480.1236 | 3566.6047 | 3655.2348
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -119487.5
Grants | 105759.25
Net Cost | -13728.25
Loan | 0
Utility Savings |  | 2028 | 2078.3958 | 2130.0439 | 2182.9755 | 2237.2225 | 2292.8174 | 2349.794 | 2408.1863 | 2468.0298 | 2529.3603 | 2592.2149 | 2656.6315 | 2722.6487 | 2790.3066 | 2859.6457 | 2930.7079 | 3003.536 | 3078.1738 | 3154.6665 | 3233.0599 | 3313.4015 | 3395.7395 | 3480.1236 | 3566.6047 | 3655.2348 | 69137.5211
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -13728.25 | 1928 | 1975.3958 | 2023.9539 | 2073.7028 | 2124.6716 | 2176.89 | 2230.3887 | 2285.199 | 2341.3528 | 2398.883 | 2457.8233 | 2518.2081 | 2580.0727 | 2643.4532 | 2708.3867 | 2774.9111 | 2843.0653 | 2912.8891 | 2984.4232 | 3057.7093 | 3132.7903 | 3209.71 | 3288.5133 | 3369.246 | 3451.9554 | 65491.5947
Cumulative Cash Flow | -13728.25 | -11800.25 | -9824.8542 | -7800.9003 | -5727.1974 | -3602.5258 | -1425.6358 | 804.7529 | 3089.9519 | 5431.3046 | 7830.1876 | 10288.0109 | 12806.219 | 15386.2916 | 18029.7448 | 20738.1316 | 23513.0427 | 26356.108 | 29268.9971 | 32253.4203 | 35311.1296 | 38443.9199 | 41653.6299 | 44942.1432 | 48311.3893 | 51763.3447
IRR |  | 25: 15.85%
NPV |  | 25: 29344.3039
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ToW Site Map
Town of Washburn Site Map
EV Pedestal

## Town of Clover
Town of Clover DOE ERA Microgrid Preliminary Proposal
Site | Address | Utility | Existing Meters | Annual kWh Used | Tariff | Existing Service | Solar kW | Increase Solar for EV (kW) | SolarArk kW | BESS kWh
Town Hall Gym | 30015 County Hwy C Washburn | Xcel | 1 | 11741 | Cg-2 | 200A | 9.0315
Garage |  | Xcel | 1 | 6825 | Cg-2 | 200A | 5.25
|  | Sum |  | 18566 |  |  | 14.2815 | 16 | 15 | 61
| Electric System Upgrade | 20000 |  | Project Total |  |  | 156997.5
| Inverter + BESS | 32400 |  | DOE Grant 80% |  |  | -125598
| BESS Install | 10000 |  | Req'd 20% Match |  |  | 31399.5
| Solar W/O Inverter | 38400 |  | Focus on Energy |  |  | -2500
| EVSE | 8225 |  | Direct Pay |  |  | -9419.85
| EVSE Install | 7000 |  | BC CCOR |  |  | -4000
| Inspection | 2000 |  | Cash after incentives $ |  |  | 15479.65
| eGauge | 2000 |  | Reduced Cost Share % |  |  | 9.86%
| Contractor Engineering | 3000 |  | Annual "Income" |  |  | 2708
| Project Management (muGrid) | 19700 |  | Simple Payback in years |  |  | 5.7163
| Subtotal | 142725
| Contingency (10%) | 14272.5
| Total | 156997.5

## ToC Cashflow
| System Size (KW DC) | 16 | Prod/kW/yr | 1300 | Annual Prod. | 20800 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 142725 | Electric Rate | 0.135 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 114180
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 28545
[10 empty] | Direct Pay |  | 8563.5
[10 empty] | BC CCOR |  | 4000
[10 empty] | Focus on Energy |  | 2500
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 20800 | 20696 | 20592.52 | 20489.5574 | 20387.1096 | 20285.1741 | 20183.7482 | 20082.8295 | 19982.4153 | 19882.5032 | 19783.0907 | 19684.1753 | 19585.7544 | 19487.8256 | 19390.3865 | 19293.4346 | 19196.9674 | 19100.9825 | 19005.4776 | 18910.4502 | 18815.898 | 18721.8185 | 18628.2094 | 18535.0684 | 18442.393 | 489963.7893
Electric Rate |  | 0.135 | 0.13905 | 0.14322 | 0.14752 | 0.15194 | 0.1565 | 0.1612 | 0.16603 | 0.17101 | 0.17614 | 0.18143 | 0.18687 | 0.19248 | 0.19825 | 0.2042 | 0.21033 | 0.21664 | 0.22313 | 0.22983 | 0.23672 | 0.24383 | 0.25114 | 0.25867 | 0.26643 | 0.27443
Production ($) |  | 2808 | 2877.7788 | 2949.2916 | 3022.5815 | 3097.6926 | 3174.6703 | 3253.5609 | 3334.4119 | 3417.272 | 3502.1912 | 3589.2207 | 3678.4128 | 3769.8213 | 3863.5014 | 3959.5094 | 4057.9032 | 4158.7421 | 4262.0869 | 4367.9997 | 4476.5445 | 4587.7866 | 4701.7931 | 4818.6327 | 4938.3757 | 5061.0944
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -142725
Grants | 129243.5
Net Cost | -13481.5
Loan | 0
Utility Savings |  | 2808 | 2877.7788 | 2949.2916 | 3022.5815 | 3097.6926 | 3174.6703 | 3253.5609 | 3334.4119 | 3417.272 | 3502.1912 | 3589.2207 | 3678.4128 | 3769.8213 | 3863.5014 | 3959.5094 | 4057.9032 | 4158.7421 | 4262.0869 | 4367.9997 | 4476.5445 | 4587.7866 | 4701.7931 | 4818.6327 | 4938.3757 | 5061.0944 | 95728.8754
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -13481.5 | 2708 | 2774.7788 | 2843.2016 | 2913.3088 | 2985.1418 | 3058.7429 | 3134.1556 | 3211.4245 | 3290.595 | 3371.7139 | 3454.829 | 3539.9894 | 3627.2453 | 3716.648 | 3808.2504 | 3902.1065 | 3998.2715 | 4096.8021 | 4197.7564 | 4301.1939 | 4407.1755 | 4515.7637 | 4627.0224 | 4741.0171 | 4857.8149 | 92082.9489
Cumulative Cash Flow | -13481.5 | -10773.5 | -7998.7212 | -5155.5196 | -2242.2108 | 742.931 | 3801.6739 | 6935.8295 | 10147.254 | 13437.849 | 16809.5629 | 20264.3919 | 23804.3813 | 27431.6265 | 31148.2746 | 34956.525 | 38858.6315 | 42856.9029 | 46953.705 | 51151.4615 | 55452.6554 | 59859.8309 | 64375.5946 | 69002.6169 | 73743.634 | 78601.4489
IRR |  | 25: 22.31%
NPV |  | 25: 46902.7868
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ToC Site Map
Town of Clover Site Map

## Town of Drumond
Town of Drummond DOE ERA Microgrid Preliminary Proposal
Microgrid | Site | Address | Utility |  | Existing Meters | Tariff | Annual kWh Used | Existing Service | Solar kW | Increase Solar for EV (kW) | SolarArk kW | BESS kWh
1 | Garage | 52560 Front Ave | Xcel |  | 1 | Cg-2 | 12072 | 200A | 9.2862 | 9.3 | 15 | 61
2 | Town Hall | 52540 Front Ave | Xcel |  | 1 | Cg-2 | 5554 | 200A | 4.2723 | 6 | 15 | 61
3 | Firehall | 52650 Front Ave | Xcel |  | 1 | Cg-2 | 8982 | 200A | 6.9092 | 6.9092 | 15 | 61
| Total | [5 empty] | 26608 |  |  | 22.2092 |  | 183
|  | Microgrid 1 | Microgrid 2 | Microgrid 3 | Sum
| Electrical Sysyem Upgrade | 5000 | 5000 | 5000 | 15000 |  | Project Total |  | 262159.8692
| Inverter + BESS | 32400 | 32400 | 32400 | 97200 |  | DOE Grant 80% |  | -209727.8954
| BESS Install | 5000 | 5000 | 5000 | 15000 |  | Req'd 20% Match |  | 52431.9738
| Solar W/O Inv | 22320 | 14400 | 16582.1538 | 53302.1538 |  | Focus on Energy |  | -3276.1538
| EVSE | 0 | 8225 | 0 | 8225 |  | Direct Pay |  | -15729.5922
| EVSE Install | 0 | 7000 | 0 | 7000 |  | BC CCOR |  | -5552.3077
| Inspection | 1000 | 1000 | 1000 | 3000 |  | Cash after incentives $ |  | 27873.9202
| eGauge | 2000 | 2000 | 2000 | 6000 |  | Reduced Cost Share % |  | 10.63%
| Contractor Engineering | 1000 | 1000 | 1000 | 3000 |  | Annual "Income" |  | 3797.72
| Project Management (muGrid) | 9700 | 11200 | 9700 | 30600 |  | Simple Payback in years |  | 7.3396
| Subtotal | 78420 | 87225 | 72682.1538 | 238327.1538
| Contingency | 7842 | 8722.5 | 7268.2154 | 23832.7154
| Total | 86262 | 95947.5 | 79950.3692 | 262159.8692
4 | No Microgrid, solar only |  |  |  |  | Cg-2 | 11888 | ? | 9.1446 | 9.1
| Library/Museum | 14990 Drummond Lake Rd | Xcel |  | 1

## ToD Cashflow
| System Size (KW DC) | 22.2092 | Prod/kW/yr | 1300 | Annual Prod. | 28872 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 238327.1538 | Electric Rate | 0.135 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 190661.7231
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 47665.4308
[10 empty] | Direct Pay |  | 14299.6292
[10 empty] | BC CCOR |  | 5552.3077
[10 empty] | Focus on Energy |  | 3276.1538
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 28872 | 28727.64 | 28584.0018 | 28441.0818 | 28298.8764 | 28157.382 | 28016.5951 | 27876.5121 | 27737.1296 | 27598.4439 | 27460.4517 | 27323.1494 | 27186.5337 | 27050.601 | 26915.348 | 26780.7713 | 26646.8674 | 26513.6331 | 26381.0649 | 26249.1596 | 26117.9138 | 25987.3242 | 25857.3876 | 25728.1007 | 25599.4602 | 680107.4291
Electric Rate |  | 0.135 | 0.13905 | 0.14322 | 0.14752 | 0.15194 | 0.1565 | 0.1612 | 0.16603 | 0.17101 | 0.17614 | 0.18143 | 0.18687 | 0.19248 | 0.19825 | 0.2042 | 0.21033 | 0.21664 | 0.22313 | 0.22983 | 0.23672 | 0.24383 | 0.25114 | 0.25867 | 0.26643 | 0.27443
Production ($) |  | 3897.72 | 3994.5783 | 4093.8436 | 4195.5756 | 4299.8357 | 4406.6866 | 4516.1928 | 4628.4202 | 4743.4364 | 4861.3108 | 4982.1144 | 5105.9199 | 5232.802 | 5362.8371 | 5496.1036 | 5632.6818 | 5772.654 | 5916.1044 | 6063.1196 | 6213.7881 | 6368.2008 | 6526.4506 | 6688.6328 | 6854.8454 | 7025.1883
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -238327.1538
Grants | 213789.8138
Net Cost | -24537.34
Loan | 0
Utility Savings |  | 3897.72 | 3994.5783 | 4093.8436 | 4195.5756 | 4299.8357 | 4406.6866 | 4516.1928 | 4628.4202 | 4743.4364 | 4861.3108 | 4982.1144 | 5105.9199 | 5232.802 | 5362.8371 | 5496.1036 | 5632.6818 | 5772.654 | 5916.1044 | 6063.1196 | 6213.7881 | 6368.2008 | 6526.4506 | 6688.6328 | 6854.8454 | 7025.1883 | 132879.0428
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -24537.34 | 3797.72 | 3891.5783 | 3987.7536 | 4086.3029 | 4187.2848 | 4290.7592 | 4396.7875 | 4505.4328 | 4616.7594 | 4730.8335 | 4847.7227 | 4967.4965 | 5090.2259 | 5215.9838 | 5344.8447 | 5476.8851 | 5612.1833 | 5750.8196 | 5892.8763 | 6038.4375 | 6187.5896 | 6340.4211 | 6497.0225 | 6657.4867 | 6821.9089 | 129233.1163
Cumulative Cash Flow | -24537.34 | -20739.62 | -16848.0417 | -12860.288 | -8773.9851 | -4586.7003 | -295.9411 | 4100.8464 | 8606.2792 | 13223.0386 | 17953.872 | 22801.5947 | 27769.0913 | 32859.3172 | 38075.3009 | 43420.1456 | 48897.0307 | 54509.214 | 60260.0337 | 66152.91 | 72191.3475 | 78378.9371 | 84719.3582 | 91216.3807 | 97873.8675 | 104695.7763
IRR |  | 1: 1590.2755; 25: 17.44%
NPV |  | 1: 1025.9842; 25: 60364.8249
1181.4603
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ToD Site Map
Town of Drummond Site Map

## Village of Mason
Villiage of Mason DOE ERA Microgrid Preliminary Proposal
Microgrid | Site | Address | Utility | Existing Meters | Tariff | Annual kWh Used | Existing Service | Solar kW | Increase Solar for EV/Irrigation (kW) | SolarArk kW | BESS kWh
1 | Garage/Village Hall/Lift Station | 59400 Northern Lights Blvd | Xcel | 3 | Cg-1, Cg-2, Mp-1 | 20600 | Mix? | 15.8462 | 22 | 30 | 61
2 | WWTP | 59917 Cemetary Rd | Xcel | 1 | Mp-1 | 12000 | 3-ph 480v | 9.2308 | 12 | 60 | 61
|  |  | Sum |  |  | 32600 |  | 25.0769 | 34
|  | Garage/Village Hall/Lift Station | WWTP | Total
| Electrical Sysyem Upgrade | 20000 | 0 |  |  |  | Project Total |  | 455779.5
| Inverter + BESS | 37700 | 62420 | 100120 |  |  | DOE Grant 80% |  | -364623.6
| BESS Install | 10000 | 5000 | 15000 |  |  | Req'd 20% Match |  | 91155.9
| Solar W/O Inv | 52800 | 28800 | 81600 |  |  | Focus on Energy |  | -4750
| EVSE - Fleet | 2000 | 0 | 2000 |  |  | Direct Pay |  | -27346.77
| EVSE Install - Fleet | 2000 | 0 | 2000 |  |  | BC CCOR |  | -8500
| Fleet Vehicle - Lightning | 85000 | 0 | 85000 |  |  | Cash after incentives $ |  | 50559.13
| EVSE - Public | 8225 | 0 | 8225 |  |  | Reduced Cost Share % |  | 11.09%
| EVSE Install - Public | 7000 | 0 | 7000 |  |  | Annual "Income" |  | 7367
| Inspection | 2000 | 1000 | 3000 |  |  | Simple Payback in years |  | 6.8629
| eGauge | 2000 | 2000 | 4000
| Contractor Engineering | 5000 | 1000 | 6000
| Project Management (muGrid) | 27400 | 15000 | 42400
| Engineering (muGrid) | 25000 | 0 | 25000
| Redcloud setup + 3yr (muGrid) | 13000 | 0 | 13000
| Subtotal | 299125 | 115220 | 414345
| Contingency | 29912.5 | 11522 | 41434.5
| Total | 329037.5 | 126742 | 455779.5

## VoM Cashflow
| System Size (KW DC) | 34 | Prod/kW/yr | 1300 | Annual Prod. | 44200 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 414345 | Electric Rate | 0.135 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 331476
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 82869
[10 empty] | Direct Pay |  | 24860.7
[10 empty] | BC CCOR |  | 8500
[10 empty] | Focus on Energy |  | 4750
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 44200 | 43979 | 43759.105 | 43540.3095 | 43322.6079 | 43105.9949 | 42890.4649 | 42676.0126 | 42462.6325 | 42250.3194 | 42039.0678 | 41828.8724 | 41619.7281 | 41411.6294 | 41204.5713 | 40998.5484 | 40793.5557 | 40589.5879 | 40386.64 | 40184.7068 | 39983.7832 | 39783.8643 | 39584.945 | 39387.0203 | 39190.0852 | 1041173.0523
Electric Rate |  | 0.135 | 0.13905 | 0.14322 | 0.14752 | 0.15194 | 0.1565 | 0.1612 | 0.16603 | 0.17101 | 0.17614 | 0.18143 | 0.18687 | 0.19248 | 0.19825 | 0.2042 | 0.21033 | 0.21664 | 0.22313 | 0.22983 | 0.23672 | 0.24383 | 0.25114 | 0.25867 | 0.26643 | 0.27443
Production ($) |  | 5967 | 6115.28 | 6267.2447 | 6422.9857 | 6582.5969 | 6746.1744 | 6913.8168 | 7085.6252 | 7261.703 | 7442.1563 | 7627.0939 | 7816.6272 | 8010.8704 | 8209.9405 | 8413.9575 | 8623.0443 | 8837.327 | 9056.9346 | 9281.9994 | 9512.6571 | 9749.0466 | 9991.3104 | 10239.5945 | 10494.0484 | 10754.8255
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -414345
Grants | 369586.7
Net Cost | -44758.3
Loan | 0
Utility Savings |  | 5967 | 6115.28 | 6267.2447 | 6422.9857 | 6582.5969 | 6746.1744 | 6913.8168 | 7085.6252 | 7261.703 | 7442.1563 | 7627.0939 | 7816.6272 | 8010.8704 | 8209.9405 | 8413.9575 | 8623.0443 | 8837.327 | 9056.9346 | 9281.9994 | 9512.6571 | 9749.0466 | 9991.3104 | 10239.5945 | 10494.0484 | 10754.8255 | 203423.8601
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -44758.3 | 5867 | 6012.28 | 6161.1547 | 6313.713 | 6470.046 | 6630.247 | 6794.4116 | 6962.6378 | 7135.026 | 7311.679 | 7492.7022 | 7678.2038 | 7868.2943 | 8063.0871 | 8262.6985 | 8467.2476 | 8676.8564 | 8891.6498 | 9111.7561 | 9337.3065 | 9568.4355 | 9805.281 | 10047.9841 | 10296.6898 | 10551.5461 | 199777.9337
Cumulative Cash Flow | -44758.3 | -38891.3 | -32879.02 | -26717.8654 | -20404.1524 | -13934.1064 | -7303.8594 | -509.4478 | 6453.19 | 13588.216 | 20899.895 | 28392.5972 | 36070.801 | 43939.0953 | 52002.1824 | 60264.8809 | 68732.1285 | 77408.9849 | 86300.6347 | 95412.3908 | 104749.6973 | 114318.1328 | 124123.4137 | 134171.3979 | 144468.0876 | 155019.6337
IRR |  | 1: 3796.2941; 25: 14.82%
NPV |  | 1: 2070.7059; 25: 86678.5871
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## VoM Site Map
Village of Mason Site Maps | Village of Mason Site Maps

## Town of Grandview
Town of Grandview DOE ERA Microgrid Preliminary Proposal
Microgrid | Site | Address | Utility | Existing Meters | Tariff | Annual kWh Used | Existing Service | Solar kW | Increase Solar for EV (kW) | SolarArk kW | BESS kWh
1 | Garage | 22080 Grandview Blvd | Xcel | 1 | Cg-2 | 6579 | 200amp | 5.0608 | 8 | 15 x 2 | 61
| Town Hall | 22010 Grandview Blvd | Xcel | 1 | Cg-2 | 8145 | 200amp | 6.2654 | 9
| Fire Hall | 22030 Grandview Blvd | Xcel | 1 | Cg-2 | 8054 | 200amp | 6.1954 | 6.2
[7 empty] | Sum | 17.5215 | 23.2 |  | 61
2 | WWTP | N. Sweden Rd | BEC | 1 |  | 26607 | ? | 20.4669 | 20.4669 | 15 | 61
| Not part of Microgrid | [5 empty] | Total |  | 43.6669 |  | 122
| Heat | 22050 Grandview Blvd |  |  | Off peak SRVC | 31699
|  | Microgrid #1 | Microgrid #2 | Total |  |  | Project Total |  | 314628.1769
| Electrical Sysyem Upgrade | 5000 | 5000 | 10000 |  |  | DOE Grant 80% |  | -251702.5415
| Trenching | 7200 | 2400 | 9600 |  |  | Req'd 20% Match |  | 62925.6354
| Inverter + BESS | 39600 | 32400 | 72000 |  |  | Focus on Energy |  | -3400
| BESS Install | 12000 | 10000 | 22000 |  |  | Direct Pay |  | -18877.6906
| Solar W/O Inv | 55680 | 49120.6154 | 104800.6154 |  |  | BC CCOR |  | -10916.7308
| EVSE | 8225 |  | 8225 |  |  | Cash after incentives $ |  | 29731.214
| EVSE Install | 7000 |  | 7000 |  |  | Reduced Cost Share % |  | 9.45%
| Inspection | 2000 | 2000 | 4000 |  |  | Annual "Income" |  | 7463.545
| eGauge | 6000 | 2000 | 8000 |  |  | Simple Payback in years |  | 3.9835
| Contractor Engineering | 5000 | 2000 | 7000
| Project Management (muGrid) | 16700 | 16700 | 33400
| Subtotal | 164405 | 121620.6154 | 286025.6154
| Contingency | 16440.5 | 12162.0615 | 28602.5615
| Total | 180845.5 | 133782.6769 | 314628.1769

## ToG Cashflow MG1
| System Size (KW DC) | 23.2 | Prod/kW/yr | 1300 | Annual Prod. | 30160 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 164405 | Electric Rate | 0.135 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 131524
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 32881
[10 empty] | Direct Pay |  | 9864.3
[10 empty] | BC CCOR |  | 5800
[10 empty] | Focus on Energy |  | 3400
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 30160 | 30009.2 | 29859.154 | 29709.8582 | 29561.3089 | 29413.5024 | 29266.4349 | 29120.1027 | 28974.5022 | 28829.6297 | 28685.4815 | 28542.0541 | 28399.3439 | 28257.3471 | 28116.0604 | 27975.4801 | 27835.6027 | 27696.4247 | 27557.9426 | 27420.1528 | 27283.0521 | 27146.6368 | 27010.9036 | 26875.8491 | 26741.4699 | 710447.4945
Electric Rate |  | 0.135 | 0.13905 | 0.14322 | 0.14752 | 0.15194 | 0.1565 | 0.1612 | 0.16603 | 0.17101 | 0.17614 | 0.18143 | 0.18687 | 0.19248 | 0.19825 | 0.2042 | 0.21033 | 0.21664 | 0.22313 | 0.22983 | 0.23672 | 0.24383 | 0.25114 | 0.25867 | 0.26643 | 0.27443
Production ($) |  | 4071.6 | 4172.7793 | 4276.4728 | 4382.7432 | 4491.6543 | 4603.272 | 4717.6633 | 4834.8972 | 4955.0444 | 5078.1772 | 5204.3699 | 5333.6985 | 5466.2409 | 5602.077 | 5741.2886 | 5883.9597 | 6030.1761 | 6180.0259 | 6333.5996 | 6490.9895 | 6652.2906 | 6817.6001 | 6987.0174 | 7160.6448 | 7338.5868
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -164405
Grants | 150588.3
Net Cost | -13816.7
Loan | 0
Utility Savings |  | 4071.6 | 4172.7793 | 4276.4728 | 4382.7432 | 4491.6543 | 4603.272 | 4717.6633 | 4834.8972 | 4955.0444 | 5078.1772 | 5204.3699 | 5333.6985 | 5466.2409 | 5602.077 | 5741.2886 | 5883.9597 | 6030.1761 | 6180.0259 | 6333.5996 | 6490.9895 | 6652.2906 | 6817.6001 | 6987.0174 | 7160.6448 | 7338.5868 | 138806.8693
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -13816.7 | 3971.6 | 4069.7793 | 4170.3828 | 4273.4705 | 4379.1035 | 4487.3445 | 4598.258 | 4711.9098 | 4828.3674 | 4947.6999 | 5069.9783 | 5195.2752 | 5323.6649 | 5455.2237 | 5590.0297 | 5728.1629 | 5869.7054 | 6014.7412 | 6163.3563 | 6315.6389 | 6471.6795 | 6631.5706 | 6795.4071 | 6963.2861 | 7135.3074 | 135160.9428
Cumulative Cash Flow | -13816.7 | -9845.1 | -5775.3207 | -1604.9379 | 2668.5326 | 7047.636 | 11534.9806 | 16133.2386 | 20845.1484 | 25673.5158 | 30621.2157 | 35691.194 | 40886.4692 | 46210.134 | 51665.3577 | 57255.3874 | 62983.5503 | 68853.2557 | 74867.9969 | 81031.3532 | 87346.9921 | 93818.6716 | 100450.2422 | 107245.6493 | 114208.9354 | 121344.2428
IRR |  | 25: 31.16%
NPV |  | 25: 74634.0002
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ToG Cashflow MG2
| System Size (KW DC) | 20.4669 | Prod/kW/yr | 1300 | Annual Prod. | 26607 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 121620.6154 | Electric Rate | 0.135 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 97296.4923
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 24324.1231
[10 empty] | Direct Pay |  | 7297.2369
[10 empty] | BC CCOR |  | 5116.7308
Focus on Energy
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 26607 | 26473.965 | 26341.5952 | 26209.8872 | 26078.8378 | 25948.4436 | 25818.7014 | 25689.6078 | 25561.1598 | 25433.354 | 25306.1872 | 25179.6563 | 25053.758 | 24928.4892 | 24803.8468 | 24679.8276 | 24556.4284 | 24433.6463 | 24311.478 | 24189.9207 | 24068.971 | 23948.6262 | 23828.8831 | 23709.7386 | 23591.19 | 626753.1992
Electric Rate |  | 0.135 | 0.13905 | 0.14322 | 0.14752 | 0.15194 | 0.1565 | 0.1612 | 0.16603 | 0.17101 | 0.17614 | 0.18143 | 0.18687 | 0.19248 | 0.19825 | 0.2042 | 0.21033 | 0.21664 | 0.22313 | 0.22983 | 0.23672 | 0.24383 | 0.25114 | 0.25867 | 0.26643 | 0.27443
Production ($) |  | 3591.945 | 3681.2048 | 3772.6828 | 3866.4339 | 3962.5148 | 4060.9833 | 4161.8988 | 4265.3219 | 4371.3152 | 4479.9424 | 4591.2689 | 4705.362 | 4822.2902 | 4942.1241 | 5064.9359 | 5190.7996 | 5319.7909 | 5451.9877 | 5587.4696 | 5726.3183 | 5868.6173 | 6014.4524 | 6163.9115 | 6317.0848 | 6474.0643
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -121620.6154
Grants | 109710.46
Net Cost | -11910.1554
Loan | 0
Utility Savings |  | 3591.945 | 3681.2048 | 3772.6828 | 3866.4339 | 3962.5148 | 4060.9833 | 4161.8988 | 4265.3219 | 4371.3152 | 4479.9424 | 4591.2689 | 4705.362 | 4822.2902 | 4942.1241 | 5064.9359 | 5190.7996 | 5319.7909 | 5451.9877 | 5587.4696 | 5726.3183 | 5868.6173 | 6014.4524 | 6163.9115 | 6317.0848 | 6474.0643 | 122454.7205
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -11910.1554 | 3491.945 | 3578.2048 | 3666.5928 | 3757.1612 | 3849.9639 | 3945.0559 | 4042.4935 | 4142.3345 | 4244.6382 | 4349.4651 | 4456.8773 | 4566.9386 | 4679.7141 | 4795.2708 | 4913.6769 | 5035.0028 | 5159.3203 | 5286.703 | 5417.2263 | 5550.9677 | 5688.0061 | 5828.4229 | 5972.3012 | 6119.7261 | 6270.7849 | 118808.7941
Cumulative Cash Flow | -11910.1554 | -8418.2104 | -4840.0056 | -1173.4128 | 2583.7485 | 6433.7124 | 10378.7683 | 14421.2618 | 18563.5964 | 22808.2346 | 27157.6996 | 31614.5769 | 36181.5155 | 40861.2296 | 45656.5004 | 50570.1773 | 55605.1801 | 60764.5004 | 66051.2034 | 71468.4298 | 77019.3974 | 82707.4035 | 88535.8265 | 94508.1277 | 100627.8538 | 106898.6387
IRR |  | 25: 31.73%
NPV |  | 25: 65834.8778
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ToG Site Map
Town of Grandview Site Maps

## Town of Kelly
Town of Kelly DOE ERA Microgrid Preliminary Proposal
Microgrid | Site | Address | Utility | Existing Meters | Tariff | Annual kWh Used | Existing Service | Solar kW | Increase Solar for EV (kW) | SolarArk kW | BESS kWh
1 | Garage | 27525 Maple Ridge Rd | BEC | 1 | 1RES | 16025 | 200A x two | 12.3269 | 12.3 | 15 | 61
| Town Hall | 27525 Maple Ridge Rd | BEC | 1 | 1RES | 1763 | ? | 1.3562 | 3
[5 empty] | Sum | 17788 |  | 13.6831 | 15.3
Not part of Microgrid
| Heat meter | 27525 Maple Ridge Rd | BEC | 1 | 12DF | 37596
| Electrical Sysyem Upgrade | 5000 |  |  | Total Project Cost |  | 134249.5
| Inverter + BESS | 32400 |  |  | DOE Grant 80% |  | -107399.6
| BESS Install | 10000 |  |  | Req'd 20% Match |  | 26849.9
| Solar without inverter | 36720 |  |  | Focus on Energy |  | 0
| EVSE | 8225 |  |  | Direct Pay |  | -8054.97
| EVSE Install | 7000 |  |  | BC CCOR |  | -3825
| Inspection | 2000 |  |  | Cash after incentives $ |  | 14969.93
| eGauge | 2000 |  |  | Reduced Cost Share % |  | 11.15%
| Contractor Engineering | 2000 |  |  | Annual "Income" |  | 3820.8
| Project Management (muGrid) | 16700 |  |  | Simple Payback in years |  | 3.918
| Subtotal | 122045
| Contingency | 12204.5
| Total | 134249.5

## ToK Cashflow
| System Size (KW DC) | 23.2 | Prod/kW/yr | 1300 | Annual Prod. | 30160 | kwh | Degradation | 0.5% | Discount Rate | 3%
| Solar + BESS + EVSE | 122045 | Electric Rate | 0.13 | Escalator | 3% |  |  |  | DOE ERA Grant (80%) |  | 97636
[5 empty] | Inflation | 3% |  |  |  | Req'd 20% Match |  | 24409
[10 empty] | Direct Pay |  | 7322.7
[10 empty] | BC CCOR |  | 5800
[10 empty] | Focus on Energy |  | 0
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Sum
Production (KWh) |  | 30160 | 30009.2 | 29859.154 | 29709.8582 | 29561.3089 | 29413.5024 | 29266.4349 | 29120.1027 | 28974.5022 | 28829.6297 | 28685.4815 | 28542.0541 | 28399.3439 | 28257.3471 | 28116.0604 | 27975.4801 | 27835.6027 | 27696.4247 | 27557.9426 | 27420.1528 | 27283.0521 | 27146.6368 | 27010.9036 | 26875.8491 | 26741.4699 | 710447.4945
Electric Rate |  | 0.13 | 0.1339 | 0.13792 | 0.14205 | 0.14632 | 0.15071 | 0.15523 | 0.15988 | 0.16468 | 0.16962 | 0.17471 | 0.17995 | 0.18535 | 0.19091 | 0.19664 | 0.20254 | 0.20861 | 0.21487 | 0.22132 | 0.22796 | 0.23479 | 0.24184 | 0.24909 | 0.25657 | 0.26426
Production ($) |  | 3920.8 | 4018.2319 | 4118.0849 | 4220.4194 | 4325.2968 | 4432.7804 | 4542.935 | 4655.8269 | 4771.5242 | 4890.0966 | 5011.6155 | 5136.1541 | 5263.7876 | 5394.5927 | 5528.6483 | 5666.0352 | 5806.8362 | 5951.1361 | 6099.0218 | 6250.5825 | 6405.9095 | 6565.0963 | 6728.239 | 6895.4357 | 7066.7873
Summary of Cash Flows
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
System Cost | -122045
Grants | 110758.7
Net Cost | -11286.3
Loan | 0
Utility Savings |  | 3920.8 | 4018.2319 | 4118.0849 | 4220.4194 | 4325.2968 | 4432.7804 | 4542.935 | 4655.8269 | 4771.5242 | 4890.0966 | 5011.6155 | 5136.1541 | 5263.7876 | 5394.5927 | 5528.6483 | 5666.0352 | 5806.8362 | 5951.1361 | 6099.0218 | 6250.5825 | 6405.9095 | 6565.0963 | 6728.239 | 6895.4357 | 7066.7873 | 133665.8741
Insurance cost |  | -100 | -103 | -106.09 | -109.2727 | -112.5509 | -115.9274 | -119.4052 | -122.9874 | -126.677 | -130.4773 | -134.3916 | -138.4234 | -142.5761 | -146.8534 | -151.259 | -155.7967 | -160.4706 | -165.2848 | -170.2433 | -175.3506 | -180.6111 | -186.0295 | -191.6103 | -197.3587 | -203.2794
Roof maintenance allow
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle Payments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Credit |  | 1: 0
Annual Cash Flow | -11286.3 | 3820.8 | 3915.2319 | 4011.9949 | 4111.1467 | 4212.7459 | 4316.853 | 4423.5298 | 4532.8395 | 4644.8472 | 4759.6193 | 4877.2239 | 4997.7308 | 5121.2115 | 5247.7393 | 5377.3894 | 5510.2385 | 5646.3656 | 5785.8513 | 5928.7785 | 6075.2319 | 6225.2984 | 6379.0669 | 6536.6286 | 6698.0771 | 6863.5079 | 130019.9477
Cumulative Cash Flow | -11286.3 | -7465.5 | -3550.2681 | 461.7268 | 4572.8735 | 8785.6194 | 13102.4724 | 17526.0021 | 22058.8417 | 26703.6889 | 31463.3082 | 36340.532 | 41338.2628 | 46459.4743 | 51707.2136 | 57084.603 | 62594.8415 | 68241.207 | 74027.0584 | 79955.8369 | 86031.0688 | 92256.3672 | 98635.4341 | 105172.0627 | 111870.1398 | 118733.6477
IRR |  | 25: 36.3%
NPV |  | 25: 73742.3747
Debt Financing |  | 1: Loan Amount; 2: 0; 3: Term; 4: 10; 5: Rate; 6: 0%; 7: Annual Pmt; 8: 0
Principle Balance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sum
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principle |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ToK Site Map
Town of Kelly Site Map

## Port Wing
Port Wing DOE ERA 5 Microgrid Preliminary Proposal
Site | Address | Tariff | Solar kW | Solar kWh | Utility Savings $ | SolarArk kW | BESS kWh | Inverter + BESS | BESS Install | Solar W/O Inv | EVSE | EVSE Install | Site | Inspection | eGauge | Engineering | Project Management (muGrid) | Red Cloud Setup + 3-years | F150 Ford Lightning | Subtotal | Contingency | Total | Grant (80%) | Cost Share (20%) | Focus on Energy | Direct Pay | BC CCOR | Cash after Incentives | Cash %
Fire Hall | NEED BILLS | NEED BILLS | 7.8 | 9360 | 1022.3623 | 15 | 61 | 32400 | 5000 | 19500 |  |  | Fire Hall | 1000 | 2000 | 1000 | 9500 |  |  | 70400 | 7040 | 77440 | 61952 | 15488 | -2170 | -4646.4 | -1950 | 6721.6 | 8.68%
Town Garage | 83185 Grand | SmGenSvc | 6.1 | 7320 | 799.5397 | 15 | 61 | 32400 | 5000 | 15250 | 2000 | 2000 | Town Garage | 1000 | 2000 | 1000 | 17000 |  | 85000 | 162650 | 16265 | 178915 | 143132 | 35783 | -1915 | -10734.9 | -1525 | 21608.1 | 12.08%
Comm Bldg (Town Hall) | 83030 Grand | SmGenSvc | 12.6 | 15120 | 1651.5083 | 15 | 61 | 32400 | 5000 | 31500 |  |  | Comm Bldg (Town Hall) | 1000 | 2000 | 1000 | 11000 |  |  | 83900 | 8390 | 92290 | 73832 | 18458 | -2700 | -5537.4 | -3150 | 7070.6 | 7.661%
Well #1 | 82765 White Birch Rd | Mun Water Pmp | 34.4 | 41280 | 4508.8799 | 30 | 61 | 37700 | 7500 | 86000 |  |  | Well #1 | 1000 | 2000 | 3000 | 20000 |  |  | 157200 | 15720 | 172920 | 138336 | 34584 | -5425 | -10375.2 | -8600 | 10183.8 | 5.889%
WWTP | 8675 Okerstrom | GenTOD | 47.3 | 56760 | 6199.7098 | 60 | 61 | 62420 | 10000 | 118250 |  |  | WWTP | 2000 | 2000 | 25000 | 36400 | 13000 |  | 269070 | 26907 | 295977 | 236781.6 | 59195.4 | -7037.5 | -17758.62 | -11825 | 22574.28 | 7.627%
|  | Sum | 108.2 | 129840 | 14182 |  |  | 197320 | 32500 | 270500 | 2000 | 2000 |  | 6000 | 10000 | 31000 | 93900 | 13000 | 85000 | 743220 | 74322 | 817542 | 654033.6 | 163508.4 | -19247.5 | -49052.52 | -27050 | 68158.38 | 8.387% | average
[16 empty] | DOE Grant 80% |  | 654033.6 | [9 empty] | 9.171% | weighted average
[16 empty] | Req'd 20% Match |  | 163508.4
[16 empty] | Focus on Energy |  | -19247.5
[16 empty] | Direct Pay |  | -49052.52
No Microgrid | [15 empty] | BC CCOR |  | -27050
Museum | 8840 State Hwy 13 | SmGenSvc | 8.8 | [12 empty] | Port Wing Upfront $ |  | 68158.38
| 8955 Beach | SmGenSvc | 0.7 | [12 empty] | Port Wing Upfront % |  | 9.171%
Old School | 8840 State Highway 13 | SmGenSvc | 1.4 | [12 empty] | Annual "Income" |  | 17000
[16 empty] | Payback in years |  | 4.0093
Solar Savings | From Cashflow Spreadsheet | 14182
EV Gasoline Savings | 15,000 miles/year Cost difference Off-peak elect. Vs. $3.60/gal | 3000

## Port Wing Site Maps
Town of Port Wing Site Maps
Town Hall
Overview
| Firehall |  |  | Town Garage
WWTP
Well #1

## EVSE
ZEF Energy Charger Options
Description | Capacity | Circuit Breaker | Price | Note
Standard Series |  |  |  | No card reader. Payment via app/Wi-Fi/Cellular, Polycarbonate shell
Single Port | 7.7kW/32A | 40A | 3477
| 11.5kW/48A | 60A | 3867
| 15.4kW/64A | 80A | 4097
| 19.2kW/80A | 100A | 4999
Dual Port | 15.4kW (2 x 7.7kW)/32 x 2 | 2x40A | 6042
| 23kW (2 x 11.5kW)/48A x 2 | 2x60A | 6822
| 30.8kW (2 x 15.4kW)/64A x 2 | 2x80A | 7282
| 38.4kW (2 x 19.2kW)/80A x 2 | 2x100A | 9498
Pro Series |  |  |  | Has card reader option, galvanied steel shell
Dual Port | 15.4kW (2 x 7.7kW)/32 x 2 | 2x40A | 8225
| 23kW (2 x 11.5kW)/48A x 2 | 2x60A | 9005
| 30.8kW (2 x 15.4kW)/64A x 2 | 2x80A | 9475
| Credit Card Module (optional) |  | 1100

## Sol-Ark
Sol-Ark Prices
Description | Unit | Quanity | Amount
ESP-R12 Cabinet holds 12 Packs | 1200 | 1 | 1200
ESP-5100 5.12kWh Battery Packs | 2000 | 12 | 24000
SA-15K-N 208v 200A | 7200 | 1 | 7200
Total |  |  | 32400
ESP-R12 Cabinet holds 12 Packs | 1200 | 1 | 1200
ESP-5100 5.12kWh Battery Packs | 2000 | 12 | 24000
SA-15K-N 208v 200A | 7200 | 2 | 14400
Total |  |  | 39600
ESP-R12 Cabinet holds 12 Packs | 1200 | 1 | 1200
ESP-5100 5.12kWh Battery Packs | 2000 | 12 | 24000
SA-30K-3P 208/240 | 12500 | 1 | 12500
Total |  |  | 37700
ESP-R12 Cabinet holds 12 Packs | 1200 | 2 | 2400
ESP-5100 5.12kWh Battery Packs | 2151 | 20 | 43020
SA-30K-3P 208/240 | 12500 | 1 | 12500
Total |  |  | 57920
ESP-R12 Cabinet holds 12 Packs | 1200 | 2 | 2400
ESP-5100 5.12kWh Battery Packs | 2151 | 20 | 43020
SA-30K-3P 208/240 | 12500 | 2 | 25000
Total |  |  | 70420
ESP-R12 Cabinet holds 12 Packs | 1200 | 2 | 2400
ESP-5100 5.12kWh Battery Packs | 2151 | 20 | 43020
SA-60K-3P 480V | 17000 | 1 | 17000 | Guess on Price
Total |  |  | 62420